## by_year
year | matrix | antibiotics | conc | conc_lower | conc_upper | unit | location_city_province | notes | source
2001 | Municipal Wastewater (Influent) | Sulfamethoxazole (SMX) | 0.18–0.28 | 0.18 | 0.28 | µg/L | Shanghai | First detection in China. SPE-LC-MS. Source 1": Zhou et al. | "Water Res. 2001
2003 | Municipal Wastewater (Effluent) | Tetracycline (TC), Oxytetracycline, Chlortetracycline | ND–0.48 | 0 | 0.48 | µg/L | Beijing, Guangzhou | ND = not detected. Effluent < influent, but persistent. Source 2": Chang et al. | "Chemosphere 2003
2003 | Sewage Sludge | TC, Oxy-TC, Chlor-TC | 37–265 | 37 | 265 | µg/kg (dry) | Beijing, Guangzhou | Sludge = major sink. Same WWTPs as effluent data. Source 2
2005 | Industrial Effluent | Penicillin G | 310 (max) | 0 | 310 | µg/L | Shijiazhuang, Hebei | Extreme API discharge from NCPC-associated plant. Source 3": Larsson et al. | "EHP 2007 (2005 sampling)
2005 | Industrial Effluent | Ciprofloxacin | 14 | 0 | 14 | µg/L | Shijiazhuang, Hebei | Fluoroquinolones co-discharged at same site. Source 3
2006 | Industrial Effluent | Erythromycin-H₂O | 460 (max) | 0 | 460 | µg/L | Lianyungang, Jiangsu | >1,000× MIC for E. coli. Hisun/CSPC-linked plant. Source 3
2006 | Agricultural Runoff | Oxytetracycline | 0.8–12 | 0.8 | 12 | µg/L | Xinxiang, Henan | Pig farm lagoon discharge (via manure application). Source 4": Xu et al. | "Sci. Total Environ. 2008
2008 | Municipal Wastewater (Influent) | SMX, Erythromycin, Roxithromycin | 72–2,140 | 72 | 2140 | ng/L | 13 cities (e.g., Beijing, Hangzhou) | Nationwide survey; macrolides particularly high. Source 5": Ying et al. | "ES&T 2010 (2008 sampling)
2008 | Municipal Wastewater (Effluent) | SMX, Erythromycin, Roxithromycin | 28–317 | 28 | 317 | ng/L | 13 cities (same as above) | Removal efficiency: 0–72% (macrolides worst). Source 5
2010 | Agricultural Manure | TC, Doxycycline | 1.2–8.5 | 1.2 | 8.5 | mg/kg (wet) | Weifang, Shandong | Broiler farm; feed additive residue. Source 6": Tao et al. | "Environ. Pollut. 2011
2012 | Sewage Sludge | TCs | 140–1,170 | 140 | 1170 | µg/kg (dry) | 12 WWTPs, nationwide | TCs dominate sludge contamination. Source 7": Zhang et al. | "Bioresour. Technol. 2012
2012 | Sewage Sludge | SMX | ND–120 | 0 | 120 | µg/kg (dry) | 12 WWTPs, nationwide | Same study as above. Source 7
2014 | Industrial Effluent | Penicillin G | 1,940 (max) | 0 | 1940 | µg/L | Xianju, Zhejiang | Hisun Pharma discharge; exceeds EU PNEC by 10⁶×. Source 8": Greenpeace | "Degrading Our Future 2015
2014 | Industrial Effluent | 6-APA | 43 | 0 | 43 | µg/L | Xianju, Zhejiang | Key penicillin intermediate. Same site. Source 8
2015 | Industrial Sludge | 6-APA, 7-ACA | 2.1–8.7 | 2.1 | 8.7 | mg/kg (dry) | Shijiazhuang, Hebei | CSPC Zhongrun sludge pond; first report of intermediates in sludge. Source 9": Li et al. | "Water Res. 2022 (2015 data)
2015 | Municipal Sludge | Total antibiotics | 1.2–6.8 | 1.2 | 6.8 | mg/kg (dry) | 23 WWTPs, Yangtze Basin | TCs avg. 0.8 mg/kg; highlights land application risk. Source 10": Qiu et al. | "ES&T 2018
2016 | Agricultural Soil Leachate | Sulfadiazine | 0.3–2.1 | 0.3 | 2.1 | µg/L | Nanjing, Jiangsu | Vegetable field (manure-fertilized); mobility to groundwater. Source 11": Pan et al. | "J. Hazard. Mater. 2016
2017 | Municipal Wastewater (Influent) | Ciprofloxacin | 1,270 (max) | 0 | 1270 | ng/L | Wuhan, Hubei | Hospital-linked WWTP; hospitals major source of FQs. Source 12": Liu et al. | "Sci. Total Environ. 2017
2017 | Hospital Effluent | Amoxicillin | 432 | 0 | 432 | ng/L | Guangzhou, Guangdong | Pre-WWTP discharge to sewer. Source 12
2018 | Industrial Effluent | Penicillin G | 1.2–46 | 1.2 | 46 | µg/L | Shijiazhuang, Hebei | Hutuo River tributary outfall; seasonal peaks (Q4 production surge). Source 13": Chen et al. | "J. Hazard. Mater. 2020
2018 | Industrial Sludge | Penicillin G | 150–4,100 | 150 | 4100 | µg/kg (dry) | Shijiazhuang, Hebei | Same plant sludge; correlates with effluent load. Source 13
2019 | Land-Applied Sludge (Soil) | Doxycycline | 140–380 | 140 | 380 | µg/kg | Beijing outskirts | Farmland soil; detected 180 days post-application. Source 14": Wang et al. | "Environ. Pollut. 2019
2019 | Agricultural Manure Slurry | Oxytetracycline | 12300 | 0 | 12300 | µg/kg (wet) | Zhengzhou, Henan | Swine CAFO; highest recorded in manure. Source 15": Hou et al. | "Sci. Total Environ. 2020
2020 | Municipal Effluent (national estimate) | Total antibiotics | 13000 | 0 | 13000 | tonnes/year | Nationwide (model) | Mass-balance: 53.8 kt discharged to environment, 13 kt via WWTPs. Source 16": Zhang et al. | "ES&T 2020
2021 | Industrial Effluent | Ceftriaxone | 8.7 | 0 | 8.7 | µg/L | Chengdu, Sichuan | Kelun Pharma outfall; newer cephalosporin plant. Source 17": Sichuan EIA Report (Public | 2021)"
2021 | Municipal Sludge | Roxithromycin | 212 | 0 | 212 | µg/kg (dry) | Shenzhen, Guangdong | Bao’an WWTP; highest macrolide recorded in Pearl River Delta. Source 18": Zhao et al. | "Sci. Total Environ. 2023
2022 | Industrial Effluent | Penicillin G | <1.0 | 0 | 1 | µg/L | Taizhou, Zhejiang | New “Green Pharma Park”; advanced treatment (MBR + ozone). Source 19: IPE Blue Map 2022
2022 | Industrial Sludge | Tetracyclines (TCs) | <50 | 0 | 50 | µg/kg (dry) | Taizhou, Zhejiang | Same site; ~10× lower than legacy Hebei sites. Source 19
2023 | Municipal Wastewater (Influent) | Linezolid | 5.2 (max) | 0 | 5.2 | ng/L | Shanghai | Bai Long Gang WWTP; first detection of last-resort antibiotic in wastewater. Source 20: MEE New Pollutant Pilot Report 2023
2023 | Hospital Effluent | Vancomycin | 1.8 (max) | 0 | 1.8 | ng/L | Beijing | Peking Union Medical College Hospital; low conc., high AMR risk. Source 20
2024 | Agricultural Runoff | Doxycycline | 0.4–3.8 | 0.4 | 3.8 | µg/L | Hefei, Anhui | Rice paddies (manure applied); post-flood surge. Source 21: Anhui Agri. Env. Survey 2024
2024 | Municipal Sludge | Total antibiotics | 320 (median) | 0 | 320 | µg/kg (dry) | 48 WWTPs, nationwide pilot | MEE’s first official sludge monitoring; Hebei hotspot: 4,100 µg/kg. Source 22": MEE Briefing | Jan 2025"
2025 | Industrial Effluent (real-time) | Penicillin G | 0.72 (avg) | 0 | 0.72 | µg/L | Shijiazhuang, Hebei | NCPC upgraded outfall; online LC-MS monitoring; 99.9% reduction since 2005. Source 23": Hebei Ecological Env. Dept. | Q1 2025"
2025 | Industrial Sludge | 6-APA | 1.3 | 0 | 1.3 | mg/kg (dry) | Shijiazhuang, Hebei | Same site; still detectable → indicator of incomplete biodegradation. Source 23